SINK DESCRIPTION

Undermount Single Bowl Kitchen sink

18 gauge stainless steel 304, Satin finish

Rear drain location

Installation Hardware included

Proprietary sound absorbing technology that undercoats the surface of this stainless steel kitchen sink keeps it silent and protected from condensation

CUTOUT DIMENSTIONS

Template included, template number HM2718ADA

# PRODUCT COMPLIANCE

# All product certified by IAPMO to meet standards ASME A112.19.3/CSA B45.4-17

WARRANTY

Limited lifetime warranty against material or manufacturing defects to the original consumer purchaser

TECHNICAL SPECIFICATION

| Installation | Under-mount |
| --- | --- |
| Bowl area | Length: 27” (Outside) 25” (Inside) Width: 18” (Outside) 16” (Inside) Bowl Depth: 5-1/2” |
| Drain Hole | 4-1/2” |
| Template | Required, Included |

Specification

| HM-2718ADA | 5-1/2” | Rear |
| --- | --- | --- |

Note:

Install this product according to	the installation instruction Minimum base cabinet size 27”

Consult an installer for confirmation.

FOR MORE INFORMAITON CALL: 571.393.7576

www.dynamicstonetools.com